## Quote
Existing Lab Modifications
Additional / extra scope · working draft · quantities to be measured · rates should match like trades on the original contract
Item | Area | Trade | Description | Unit | Qty | Rate | Amount | Remarks
A | Existing Lab Modifications | Protection | Protect retained equipment, services and adjacent rooms during works | item | 1
A.1 | Existing Lab Modifications | Protection | Wrap existing instruments and benches; rigid barriers | item | 1 |  |  | Required at occupied interfaces
A.2 | Existing Lab Modifications | Protection | Isolation, dust control and temporary access | item | 1
B | Existing Lab Modifications | Strip-out | Strip partitions, ceilings, floors, benches and redundant services in the alteration zone | item | 1 |  |  | Confirm retain list before strip-out
B.1 | Existing Lab Modifications | Strip-out | Remove light partitions (incl. cart-away) | m2
B.2 | Existing Lab Modifications | Strip-out | Local ceiling strip-out | m2
B.3 | Existing Lab Modifications | Strip-out | Local floor-finish removal | m2
B.4 | Existing Lab Modifications | Strip-out | Remove or disconnect benches for relocation (no new furniture) | item | 1 |  |  | Confirm relocate vs dispose
B.5 | Existing Lab Modifications | Strip-out | Remove redundant electrical points and make good | nr
B.6 | Existing Lab Modifications | Strip-out | Remove redundant plumbing / extract duct | m
B.7 | Existing Lab Modifications | Strip-out | Construction waste removal | item | 1
C | Existing Lab Modifications | Builder’s work | Partitions, doors, floors, walls and ceilings made good or new to the altered layout | item | 1
C.1 | Existing Lab Modifications | Builder’s work | New / modified light-gauge stud partition | m2
C.2 | Existing Lab Modifications | Builder’s work | Relocate, replace or block door openings | nr
C.3 | Existing Lab Modifications | Builder’s work | Floor patching and local epoxy / PVC matching | m2 |  |  |  | Match retained floor colour
C.4 | Existing Lab Modifications | Builder’s work | Wall repair and chemical-resistant recoating | m2
C.5 | Existing Lab Modifications | Builder’s work | Ceiling repair, level and replace damaged tiles | m2
D | Existing Lab Modifications | Bench alterations | Relocate, join and patch retained lab furniture | item | 1
D.1 | Existing Lab Modifications | Bench alterations | Move benches, re-fix and level | m
D.2 | Existing Lab Modifications | Bench alterations | Cut worktops, edge and recut sink openings | item | 1
D.3 | Existing Lab Modifications | Bench alterations | Short run of new wall bench (gap infill only) | m |  |  |  | Large new runs belong on the 25F pack
E | Existing Lab Modifications | Electrical alterations | Relocate circuits, adjust DB and lighting points | item | 1
E.1 | Existing Lab Modifications | Electrical alterations | Relocate or add socket / circuit | nr
E.2 | Existing Lab Modifications | Electrical alterations | Relocate or replace luminaire | set
E.3 | Existing Lab Modifications | Electrical alterations | Adjust circuits in existing DB | item | 1 |  |  | Keep existing board unless capacity is short
E.4 | Existing Lab Modifications | Electrical alterations | Insulation and energisation tests after works | item | 1
F | Existing Lab Modifications | HVAC / extract alterations | Reroute ductwork, relocate fume hoods and rebalance air | item | 1
F.1 | Existing Lab Modifications | HVAC / extract alterations | Relocate fume hood (incl. reconnect extract) | nr |  |  |  | Delete if hood is scrapped
F.2 | Existing Lab Modifications | HVAC / extract alterations | Reroute extract / make-up duct | m
F.3 | Existing Lab Modifications | HVAC / extract alterations | Relocate indoor AC unit or adjust grilles | nr
F.4 | Existing Lab Modifications | HVAC / extract alterations | Recommission air volume and room pressure | item | 1
G | Existing Lab Modifications | Plumbing alterations | Relocate sinks, taps and waste | item | 1
G.1 | Existing Lab Modifications | Plumbing alterations | Relocate hot/cold water point | nr
G.2 | Existing Lab Modifications | Plumbing alterations | Reroute chemical-resistant waste | m
G.3 | Existing Lab Modifications | Plumbing alterations | Relocate floor drain and make good falls | nr
G.4 | Existing Lab Modifications | Plumbing alterations | Pressure test and flush after works | item | 1
H | Existing Lab Modifications | ELV alterations | Relocate data, access, CCTV and fire points with partitions | item | 1 |  |  | Confirm if in this package
H.1 | Existing Lab Modifications | ELV alterations | Relocate / reinstate data outlet | nr
H.2 | Existing Lab Modifications | ELV alterations | Relocate access / CCTV point | nr
H.3 | Existing Lab Modifications | ELV alterations | Relocate and reset fire detector | nr
I | Existing Lab Modifications | Make-good & clean | Interface with retained areas, close openings, clean handover | item | 1
I.1 | Existing Lab Modifications | Make-good & clean | Fire-stop openings and decorative close-up | item | 1
I.2 | Existing Lab Modifications | Make-good & clean | Match finishes and floors to unaltered areas | item | 1 |  |  | Avoid obvious colour mismatch
I.3 | Existing Lab Modifications | Make-good & clean | Final clean, remove protection, assist equipment reset | item | 1
J | Existing Lab Modifications | Provisional | Contingency for existing-lab alterations (optional; hidden services risk) | item | 1 |  |  | Delete if not required
Existing Lab Modifications — amount subtotal | [7 empty] | 0 if rates are blank — not a free quote

## Drawing register
Existing Lab Modifications — drawing register
Do not attach unfinished drawings. Mark them Not started / TBD. Keep drawings in the same area pack as the quote.
Dwg no. | Area | Title | Discipline | Rev | Date | Status | File / location | Remarks
A-OL-001 | Existing Lab Modifications | Existing lab — as-built / strip-out | Architecture | A | 2026-09-03 | Draft — for review | drawings/old-lab/ | Mark retain / strip-out
A-OL-002 | Existing Lab Modifications | Existing lab — altered layout | Architecture | A | 2026-09-03 | Draft — for review | drawings/old-lab/ | Read against strip-out drawing
A-OL-003 | Existing Lab Modifications | Existing lab — bench and services relocation overlay | Sketch | A | 2026-09-03 | Draft / TBD | drawings/old-lab/ | Avoid double-counting 25F new work
E-OL-001 | Existing Lab Modifications | Existing lab — electrical relocation | MEP | A | 2026-09-03 | Draft / TBD | drawings/old-lab/
M-OL-001 | Existing Lab Modifications | Existing lab — extract / AC relocation | MEP | A | 2026-09-03 | Draft / TBD | drawings/old-lab/