## Quote
1F Warehouse
Additional / extra scope · working draft · quantities to be measured · rates should match like trades on the original contract
Item | Area | Trade | Description | Unit | Qty | Rate | Amount | Remarks
A | 1F Warehouse | Preliminaries | Management, unloading access, hoarding and temporary works for the 1F warehouse only | item | 1 |  |  | This area only
A.1 | 1F Warehouse | Preliminaries | Occupation of 1F loading door, temporary hoarding and traffic guidance | item | 1
A.2 | 1F Warehouse | Preliminaries | Protection of columns, doorways and completed floors | item | 1
A.3 | 1F Warehouse | Preliminaries | Construction waste removal (Level 1) | item | 1
B | 1F Warehouse | Flooring | Warehouse slab, levelling, finish and lining | item | 1
B.1 | 1F Warehouse | Flooring | Clean existing slab, repair hollow spots, level | m2
B.2 | 1F Warehouse | Flooring | Concrete make-up / hardener (if required) | m2 |  |  |  | Confirm if structural slab already exists
B.3 | 1F Warehouse | Flooring | Epoxy floor (or wear-resistant finish — TBC) | m2
B.4 | 1F Warehouse | Flooring | Bay / aisle lining and numbering | m
B.5 | 1F Warehouse | Flooring | Column guards / corner protection | nr
C | 1F Warehouse | Walls & doors | Wall coatings, impact protection and doors | item | 1
C.1 | 1F Warehouse | Walls & doors | Internal plaster repair and paint (incl. intumescent if required) | m2
C.2 | 1F Warehouse | Walls & doors | Powered roller shutter (incl. guides, motor, controls) | nr |  |  |  | Loading door
C.3 | 1F Warehouse | Walls & doors | Pedestrian fire / escape door | nr
C.4 | 1F Warehouse | Walls & doors | Lobby, canopy or loading-dock rain protection | item | 1 |  |  | If present on site
D | 1F Warehouse | Racking builder’s work | Racking bases, embeds and install attend (racking supply excluded unless confirmed) | item | 1 |  |  | Confirm racking supply with procurement
D.1 | 1F Warehouse | Racking builder’s work | Embed / chemical-anchor racking base bolts | nr
D.2 | 1F Warehouse | Racking builder’s work | Local thickened base or blinding | m3 |  |  |  | Per racking supplier loads
D.3 | 1F Warehouse | Racking builder’s work | Racking supply and install (provisional, optional) | item | 1 |  |  | Delete if not in this contract
E | 1F Warehouse | Power & lighting | Warehouse power distribution and high-bay lighting | item | 1
E.1 | 1F Warehouse | Power & lighting | Warehouse distribution board | nr
E.2 | 1F Warehouse | Power & lighting | Cables, tray and conduit | m
E.3 | 1F Warehouse | Power & lighting | High-bay / LED industrial luminaire | set
E.4 | 1F Warehouse | Power & lighting | Emergency lighting and exit signs | set
E.5 | 1F Warehouse | Power & lighting | Forklift / charging or power socket (if required) | nr
E.6 | 1F Warehouse | Power & lighting | Electrical testing and commissioning | item | 1
F | 1F Warehouse | Ventilation | Warehouse ventilation (fans or duct, per height and stock) | item | 1 |  |  | Delete if natural ventilation only
F.1 | 1F Warehouse | Ventilation | Extract fan / roof fan | nr
F.2 | 1F Warehouse | Ventilation | Duct and grille (if any) | m
G | 1F Warehouse | Fire | Warehouse sprinklers, detection, extinguishers and fire-stopping | item | 1 |  |  | Per fire review
G.1 | 1F Warehouse | Fire | Sprinkler pipe, heads and supports | m |  |  |  | Note if tying into existing system
G.2 | 1F Warehouse | Fire | Smoke / heat detector | nr
G.3 | 1F Warehouse | Fire | Relocate or add hose-reel cabinet (if required) | set
G.4 | 1F Warehouse | Fire | Extinguisher cabinet and contents | set
G.5 | 1F Warehouse | Fire | Fire-stopping | item | 1
H | 1F Warehouse | ELV | CCTV, access and data (warehouse office corner, if any) | item | 1 |  |  | Confirm if in this package
H.1 | 1F Warehouse | ELV | CCTV point | nr |  |  |  | Loading door and storage
H.2 | 1F Warehouse | ELV | Access-control point | nr
H.3 | 1F Warehouse | ELV | Data outlet (duty / small office) | nr
I | 1F Warehouse | Ancillary room (optional) | Duty / small office partitions and simple fit-out inside the warehouse | item | 1 |  |  | Delete whole trade if no ancillary room
I.1 | 1F Warehouse | Ancillary room (optional) | Light partitions and door | m2
I.2 | 1F Warehouse | Ancillary room (optional) | Simple ceiling, floor and lights | m2
J | 1F Warehouse | Signage & handover | Signs and final clean | item | 1
J.1 | 1F Warehouse | Signage & handover | Safety signs, height limit, no-storage and escape plan | item | 1
J.2 | 1F Warehouse | Signage & handover | Final clean and removal of protection | item | 1
K | 1F Warehouse | Provisional | Contingency for 1F warehouse (optional) | item | 1 |  |  | Delete if not required
1F Warehouse — amount subtotal | [7 empty] | 0 if rates are blank — not a free quote

## Drawing register
1F Warehouse — drawing register
Do not attach unfinished drawings. Mark them Not started / TBD. Keep drawings in the same area pack as the quote.
Dwg no. | Area | Title | Discipline | Rev | Date | Status | File / location | Remarks
A-WH-001 | 1F Warehouse | 1F warehouse — floor layout (draft) | Architecture | A | 2026-09-03 | Draft — for review | drawings/1f-warehouse/ | Doors, storage, ancillary
A-WH-002 | 1F Warehouse | 1F warehouse — floor lining and racking | Architecture | A | 2026-09-03 | Draft / TBD | drawings/1f-warehouse/ | Still needed if racking is client-supplied
E-WH-001 | 1F Warehouse | 1F warehouse — electrical / lighting | MEP | A | 2026-09-03 | Draft / TBD | drawings/1f-warehouse/ | High-bay lighting, power
F-WH-001 | 1F Warehouse | 1F warehouse — fire layout | MEP | A | 2026-09-03 | Draft / TBD | drawings/1f-warehouse/ | Sprinklers, detection, escape