## Quote
25F Laboratory
Additional / extra scope · working draft · quantities to be measured · rates should match like trades on the original contract
Item | Area | Trade | Description | Unit | Qty | Rate | Amount | Remarks
A | 25F Laboratory | Preliminaries | Management, vertical transport, access and temporary works for the 25F laboratory only | item | 1 |  |  | This area only
A.1 | 25F Laboratory | Preliminaries | Protection of finishes, lifts and public corridors on this floor | item | 1
A.2 | 25F Laboratory | Preliminaries | Hoarding / dust screens at the office interface | item | 1
A.3 | 25F Laboratory | Preliminaries | Sorted construction waste removal (Level 25) | item | 1
B | 25F Laboratory | Partitions & doors | Laboratory zoning partitions, vision panels, pass-throughs and lab doors | item | 1
B.1 | 25F Laboratory | Partitions & doors | Light-gauge steel stud partition, double-sided fire-rated plasterboard (incl. joints and corners) | m2 |  |  |  | Measure from confirmed layout
B.2 | 25F Laboratory | Partitions & doors | Laboratory door (vision panel, closer, seals) | nr
B.3 | 25F Laboratory | Partitions & doors | Fire door (lobby / electrical / gas bottle room, per fire review) | nr |  |  |  | If applicable
B.4 | 25F Laboratory | Partitions & doors | Pass-through window (mechanical or electronic interlock) | nr |  |  |  | If shown on layout
B.5 | 25F Laboratory | Partitions & doors | Internal vision panel / fixed glazed screen | m2
C | 25F Laboratory | Flooring | Laboratory flooring (incl. substrate and skirting) | item | 1
C.1 | 25F Laboratory | Flooring | Clean existing floor, level, repair cracks | m2
C.2 | 25F Laboratory | Flooring | Laboratory epoxy floor (or equivalent PVC sheet — to be confirmed) | m2 |  |  |  | Confirm finish
C.3 | 25F Laboratory | Flooring | Anti-static flooring (equipment room, if required) | m2 |  |  |  | Equipment room only
C.4 | 25F Laboratory | Flooring | Chemical-resistant skirting | m
C.5 | 25F Laboratory | Flooring | Floor drain and falls (wet areas) | nr
D | 25F Laboratory | Walls & ceilings | Laboratory wall finishes and ceiling | item | 1
D.1 | 25F Laboratory | Walls & ceilings | Chemical-resistant wall coating / laboratory wall panels | m2 |  |  |  | Confirm paint or panels
D.2 | 25F Laboratory | Walls & ceilings | Aluminium or clean-room ceiling (incl. grid and access panels) | m2
D.3 | 25F Laboratory | Walls & ceilings | Equipment hangers and fire-stopping at ceiling penetrations | item | 1
E | 25F Laboratory | Lab furniture | Benches, reagent cabinets, glassware cabinets and installation | item | 1 |  |  | Furniture supply scope TBC
E.1 | 25F Laboratory | Lab furniture | Wall / island bench (worktop, frame, reagent shelf) | m |  |  |  | Per layout
E.2 | 25F Laboratory | Lab furniture | Reagent cabinet / glassware cabinet / changing locker | nr
E.3 | 25F Laboratory | Lab furniture | Builder’s work for emergency shower / eyewash (opening and fixings) | set |  |  |  | Note if client-supplied
F | 25F Laboratory | Fume hoods & extract | Fume hoods and laboratory extract / make-up air | item | 1
F.1 | 25F Laboratory | Fume hoods & extract | Fume hood supply and install (incl. face-velocity commissioning) | nr |  |  |  | Qty per layout
F.2 | 25F Laboratory | Fume hoods & extract | Extract ductwork (incl. supports and fire dampers) | m
F.3 | 25F Laboratory | Fume hoods & extract | Make-up / 100% fresh-air ductwork | m
F.4 | 25F Laboratory | Fume hoods & extract | Extract / roof fan (incl. vibration isolation and cowl) | nr |  |  |  | Location TBC
F.5 | 25F Laboratory | Fume hoods & extract | Room pressure and air-volume balancing | item | 1
G | 25F Laboratory | HVAC | Laboratory air-conditioning (comfort or process — TBC) | item | 1
G.1 | 25F Laboratory | HVAC | Indoor unit / terminal / grille | nr
G.2 | 25F Laboratory | HVAC | Refrigerant pipe / condensate drain | m
G.3 | 25F Laboratory | HVAC | Controls point | nr
H | 25F Laboratory | Electrical | Laboratory power and lighting | item | 1
H.1 | 25F Laboratory | Electrical | Dedicated laboratory DB and breakers | nr
H.2 | 25F Laboratory | Electrical | Cables, tray and conduit | m
H.3 | 25F Laboratory | Electrical | Under-bench / wall sockets (weatherproof covers where needed) | nr
H.4 | 25F Laboratory | Electrical | Clean-room / panel luminaire | set
H.5 | 25F Laboratory | Electrical | Emergency lighting and exit signs | set
H.6 | 25F Laboratory | Electrical | Equipotential bonding and earthing | item | 1 |  |  | Required for laboratory
H.7 | 25F Laboratory | Electrical | Electrical testing and commissioning | item | 1
I | 25F Laboratory | Plumbing | Lab water, purified-water points and waste | item | 1
I.1 | 25F Laboratory | Plumbing | Bench sink, tap and pipework | set
I.2 | 25F Laboratory | Plumbing | Purified / DI water point builder’s work | nr |  |  |  | Builder’s work only if system is client-supplied
I.3 | 25F Laboratory | Plumbing | Chemical-resistant waste pipe | m
I.4 | 25F Laboratory | Plumbing | Waste collection / neutralisation (provisional) | item | 1 |  |  | Optional — pending process
I.5 | 25F Laboratory | Plumbing | Emergency shower water supply and drain | set
I.6 | 25F Laboratory | Plumbing | Pressure test and flush | item | 1
J | 25F Laboratory | Special gases | Gas bottle room and pipework (if applicable) | item | 1 |  |  | Delete whole trade if not required
J.1 | 25F Laboratory | Special gases | Cylinder restraint and gas pipework | m
J.2 | 25F Laboratory | Special gases | Flammable / toxic gas detector | nr
K | 25F Laboratory | ELV | Data, access control, CCTV and fire alarm | item | 1 |  |  | Confirm if in this package
K.1 | 25F Laboratory | ELV | Data outlet | nr
K.2 | 25F Laboratory | ELV | Access-control point | nr
K.3 | 25F Laboratory | ELV | CCTV point | nr
K.4 | 25F Laboratory | ELV | Fire detector / MCP / sounder | nr
L | 25F Laboratory | Fire & handover | Fire-stopping, extinguishers and clean handover | item | 1
L.1 | 25F Laboratory | Fire & handover | Fire-stopping of sleeves and openings | item | 1
L.2 | 25F Laboratory | Fire & handover | Extinguisher cabinet and contents | set
L.3 | 25F Laboratory | Fire & handover | Final clean and removal of protection | item | 1
M | 25F Laboratory | Provisional | Contingency for 25F laboratory (optional) | item | 1 |  |  | Delete if not required
25F Laboratory — amount subtotal | [7 empty] | 0 if rates are blank — not a free quote

## Drawing register
25F Laboratory — drawing register
Do not attach unfinished drawings. Mark them Not started / TBD. Keep drawings in the same area pack as the quote.
Dwg no. | Area | Title | Discipline | Rev | Date | Status | File / location | Remarks
A-L25-001 | 25F Laboratory | 25F laboratory — floor layout (draft) | Architecture | A | 2026-09-03 | Draft — for review | drawings/25f-lab/ | Partitions, zoning, doors
A-L25-002 | 25F Laboratory | 25F laboratory — bench and furniture layout | Architecture | A | 2026-09-03 | Draft / TBD | drawings/25f-lab/
A-L25-003 | 25F Laboratory | 25F laboratory — RCP / lighting | Architecture | A | 2026-09-03 | Not started / TBD | drawings/25f-lab/
E-L25-001 | 25F Laboratory | 25F laboratory — electrical layout | MEP | A | 2026-09-03 | Draft / TBD | drawings/25f-lab/ | Sockets, lighting, DB
M-L25-001 | 25F Laboratory | 25F laboratory — extract / HVAC layout | MEP | A | 2026-09-03 | Draft / TBD | drawings/25f-lab/ | Fume hoods and extract
P-L25-001 | 25F Laboratory | 25F laboratory — plumbing layout | MEP | A | 2026-09-03 | Draft / TBD | drawings/25f-lab/ | Lab sinks, waste, shower