## Overview
Additional quotes and drawings — split into three packs by area
Date: 3 September 2026 Purpose: procurement internal confirmation of extra scope Quotes and drawings split by the same areas Excludes original contract
A 25F Laboratory: quote + drawings (layout, benches, extract, lab plumbing). Standalone file: A-25F-laboratory-quote-and-drawings.xlsx
B Existing lab modifications: quote + drawings (strip-out, altered layout, services relocation). Standalone file: B-existing-lab-mods-quote-and-drawings.xlsx
C 1F Warehouse: quote + drawings (layout, lining/racking, lighting, fire). Standalone file: C-1F-warehouse-quote-and-drawings.xlsx
No. | Area | Sheet | Scope summary | Amount | Status (procurement) | Remarks
A | 25F Laboratory | 25F Laboratory | New lab fit-out, benches, fume hoods, lab MEP |  | Pending | See sheet "25F Laboratory"
B | Existing Lab Modifications | Existing Lab Mods | Protect, strip-out, relocate, make good |  | Pending | See sheet "Existing Lab Mods"
C | 1F Warehouse | 1F Warehouse | Floor, doors, lighting, power, fire |  | Pending | See sheet "1F Warehouse"
Three packs total (additional / extra scope) |  |  |  |  | Pending | Total is 0 if rates are blank — not a zero quote
How to fill
1. Open the area sheet, enter Qty from site measure; enter Rate only if procurement wants a priced BoQ. Amount calculates automatically.
2. Delete rows that do not belong (no fume hoods on the warehouse pack; no existing-lab strip-out on the 25F pack).
3. On this sheet, mark each pack Confirmed / Revise / Not required.
4. Keep drawings with the same area: drawings/25f-lab, drawings/old-lab, drawings/1f-warehouse.
5. Send procurement the three standalone files (A/B/C each has quote + drawing register). Do not send the old combined BoQ.
6. Racking supply, waste neutralisation, special gases and ancillary rooms are optional — delete if not required.

## 25F Laboratory
25F Laboratory
Additional / extra scope · working draft · quantities to be measured · rates should match like trades on the original contract
Item | Area | Trade | Description | Unit | Qty | Rate | Amount | Remarks
A | 25F Laboratory | Preliminaries | Management, vertical transport, access and temporary works for the 25F laboratory only | item | 1 |  |  | This area only
A.1 | 25F Laboratory | Preliminaries | Protection of finishes, lifts and public corridors on this floor | item | 1
A.2 | 25F Laboratory | Preliminaries | Hoarding / dust screens at the office interface | item | 1
A.3 | 25F Laboratory | Preliminaries | Sorted construction waste removal (Level 25) | item | 1
B | 25F Laboratory | Partitions & doors | Laboratory zoning partitions, vision panels, pass-throughs and lab doors | item | 1
B.1 | 25F Laboratory | Partitions & doors | Light-gauge steel stud partition, double-sided fire-rated plasterboard (incl. joints and corners) | m2 |  |  |  | Measure from confirmed layout
B.2 | 25F Laboratory | Partitions & doors | Laboratory door (vision panel, closer, seals) | nr
B.3 | 25F Laboratory | Partitions & doors | Fire door (lobby / electrical / gas bottle room, per fire review) | nr |  |  |  | If applicable
B.4 | 25F Laboratory | Partitions & doors | Pass-through window (mechanical or electronic interlock) | nr |  |  |  | If shown on layout
B.5 | 25F Laboratory | Partitions & doors | Internal vision panel / fixed glazed screen | m2
C | 25F Laboratory | Flooring | Laboratory flooring (incl. substrate and skirting) | item | 1
C.1 | 25F Laboratory | Flooring | Clean existing floor, level, repair cracks | m2
C.2 | 25F Laboratory | Flooring | Laboratory epoxy floor (or equivalent PVC sheet — to be confirmed) | m2 |  |  |  | Confirm finish
C.3 | 25F Laboratory | Flooring | Anti-static flooring (equipment room, if required) | m2 |  |  |  | Equipment room only
C.4 | 25F Laboratory | Flooring | Chemical-resistant skirting | m
C.5 | 25F Laboratory | Flooring | Floor drain and falls (wet areas) | nr
D | 25F Laboratory | Walls & ceilings | Laboratory wall finishes and ceiling | item | 1
D.1 | 25F Laboratory | Walls & ceilings | Chemical-resistant wall coating / laboratory wall panels | m2 |  |  |  | Confirm paint or panels
D.2 | 25F Laboratory | Walls & ceilings | Aluminium or clean-room ceiling (incl. grid and access panels) | m2
D.3 | 25F Laboratory | Walls & ceilings | Equipment hangers and fire-stopping at ceiling penetrations | item | 1
E | 25F Laboratory | Lab furniture | Benches, reagent cabinets, glassware cabinets and installation | item | 1 |  |  | Furniture supply scope TBC
E.1 | 25F Laboratory | Lab furniture | Wall / island bench (worktop, frame, reagent shelf) | m |  |  |  | Per layout
E.2 | 25F Laboratory | Lab furniture | Reagent cabinet / glassware cabinet / changing locker | nr
E.3 | 25F Laboratory | Lab furniture | Builder’s work for emergency shower / eyewash (opening and fixings) | set |  |  |  | Note if client-supplied
F | 25F Laboratory | Fume hoods & extract | Fume hoods and laboratory extract / make-up air | item | 1
F.1 | 25F Laboratory | Fume hoods & extract | Fume hood supply and install (incl. face-velocity commissioning) | nr |  |  |  | Qty per layout
F.2 | 25F Laboratory | Fume hoods & extract | Extract ductwork (incl. supports and fire dampers) | m
F.3 | 25F Laboratory | Fume hoods & extract | Make-up / 100% fresh-air ductwork | m
F.4 | 25F Laboratory | Fume hoods & extract | Extract / roof fan (incl. vibration isolation and cowl) | nr |  |  |  | Location TBC
F.5 | 25F Laboratory | Fume hoods & extract | Room pressure and air-volume balancing | item | 1
G | 25F Laboratory | HVAC | Laboratory air-conditioning (comfort or process — TBC) | item | 1
G.1 | 25F Laboratory | HVAC | Indoor unit / terminal / grille | nr
G.2 | 25F Laboratory | HVAC | Refrigerant pipe / condensate drain | m
G.3 | 25F Laboratory | HVAC | Controls point | nr
H | 25F Laboratory | Electrical | Laboratory power and lighting | item | 1
H.1 | 25F Laboratory | Electrical | Dedicated laboratory DB and breakers | nr
H.2 | 25F Laboratory | Electrical | Cables, tray and conduit | m
H.3 | 25F Laboratory | Electrical | Under-bench / wall sockets (weatherproof covers where needed) | nr
H.4 | 25F Laboratory | Electrical | Clean-room / panel luminaire | set
H.5 | 25F Laboratory | Electrical | Emergency lighting and exit signs | set
H.6 | 25F Laboratory | Electrical | Equipotential bonding and earthing | item | 1 |  |  | Required for laboratory
H.7 | 25F Laboratory | Electrical | Electrical testing and commissioning | item | 1
I | 25F Laboratory | Plumbing | Lab water, purified-water points and waste | item | 1
I.1 | 25F Laboratory | Plumbing | Bench sink, tap and pipework | set
I.2 | 25F Laboratory | Plumbing | Purified / DI water point builder’s work | nr |  |  |  | Builder’s work only if system is client-supplied
I.3 | 25F Laboratory | Plumbing | Chemical-resistant waste pipe | m
I.4 | 25F Laboratory | Plumbing | Waste collection / neutralisation (provisional) | item | 1 |  |  | Optional — pending process
I.5 | 25F Laboratory | Plumbing | Emergency shower water supply and drain | set
I.6 | 25F Laboratory | Plumbing | Pressure test and flush | item | 1
J | 25F Laboratory | Special gases | Gas bottle room and pipework (if applicable) | item | 1 |  |  | Delete whole trade if not required
J.1 | 25F Laboratory | Special gases | Cylinder restraint and gas pipework | m
J.2 | 25F Laboratory | Special gases | Flammable / toxic gas detector | nr
K | 25F Laboratory | ELV | Data, access control, CCTV and fire alarm | item | 1 |  |  | Confirm if in this package
K.1 | 25F Laboratory | ELV | Data outlet | nr
K.2 | 25F Laboratory | ELV | Access-control point | nr
K.3 | 25F Laboratory | ELV | CCTV point | nr
K.4 | 25F Laboratory | ELV | Fire detector / MCP / sounder | nr
L | 25F Laboratory | Fire & handover | Fire-stopping, extinguishers and clean handover | item | 1
L.1 | 25F Laboratory | Fire & handover | Fire-stopping of sleeves and openings | item | 1
L.2 | 25F Laboratory | Fire & handover | Extinguisher cabinet and contents | set
L.3 | 25F Laboratory | Fire & handover | Final clean and removal of protection | item | 1
M | 25F Laboratory | Provisional | Contingency for 25F laboratory (optional) | item | 1 |  |  | Delete if not required
25F Laboratory — amount subtotal | [7 empty] | 0 if rates are blank — not a free quote

## Existing Lab Mods
Existing Lab Modifications
Additional / extra scope · working draft · quantities to be measured · rates should match like trades on the original contract
Item | Area | Trade | Description | Unit | Qty | Rate | Amount | Remarks
A | Existing Lab Modifications | Protection | Protect retained equipment, services and adjacent rooms during works | item | 1
A.1 | Existing Lab Modifications | Protection | Wrap existing instruments and benches; rigid barriers | item | 1 |  |  | Required at occupied interfaces
A.2 | Existing Lab Modifications | Protection | Isolation, dust control and temporary access | item | 1
B | Existing Lab Modifications | Strip-out | Strip partitions, ceilings, floors, benches and redundant services in the alteration zone | item | 1 |  |  | Confirm retain list before strip-out
B.1 | Existing Lab Modifications | Strip-out | Remove light partitions (incl. cart-away) | m2
B.2 | Existing Lab Modifications | Strip-out | Local ceiling strip-out | m2
B.3 | Existing Lab Modifications | Strip-out | Local floor-finish removal | m2
B.4 | Existing Lab Modifications | Strip-out | Remove or disconnect benches for relocation (no new furniture) | item | 1 |  |  | Confirm relocate vs dispose
B.5 | Existing Lab Modifications | Strip-out | Remove redundant electrical points and make good | nr
B.6 | Existing Lab Modifications | Strip-out | Remove redundant plumbing / extract duct | m
B.7 | Existing Lab Modifications | Strip-out | Construction waste removal | item | 1
C | Existing Lab Modifications | Builder’s work | Partitions, doors, floors, walls and ceilings made good or new to the altered layout | item | 1
C.1 | Existing Lab Modifications | Builder’s work | New / modified light-gauge stud partition | m2
C.2 | Existing Lab Modifications | Builder’s work | Relocate, replace or block door openings | nr
C.3 | Existing Lab Modifications | Builder’s work | Floor patching and local epoxy / PVC matching | m2 |  |  |  | Match retained floor colour
C.4 | Existing Lab Modifications | Builder’s work | Wall repair and chemical-resistant recoating | m2
C.5 | Existing Lab Modifications | Builder’s work | Ceiling repair, level and replace damaged tiles | m2
D | Existing Lab Modifications | Bench alterations | Relocate, join and patch retained lab furniture | item | 1
D.1 | Existing Lab Modifications | Bench alterations | Move benches, re-fix and level | m
D.2 | Existing Lab Modifications | Bench alterations | Cut worktops, edge and recut sink openings | item | 1
D.3 | Existing Lab Modifications | Bench alterations | Short run of new wall bench (gap infill only) | m |  |  |  | Large new runs belong on the 25F pack
E | Existing Lab Modifications | Electrical alterations | Relocate circuits, adjust DB and lighting points | item | 1
E.1 | Existing Lab Modifications | Electrical alterations | Relocate or add socket / circuit | nr
E.2 | Existing Lab Modifications | Electrical alterations | Relocate or replace luminaire | set
E.3 | Existing Lab Modifications | Electrical alterations | Adjust circuits in existing DB | item | 1 |  |  | Keep existing board unless capacity is short
E.4 | Existing Lab Modifications | Electrical alterations | Insulation and energisation tests after works | item | 1
F | Existing Lab Modifications | HVAC / extract alterations | Reroute ductwork, relocate fume hoods and rebalance air | item | 1
F.1 | Existing Lab Modifications | HVAC / extract alterations | Relocate fume hood (incl. reconnect extract) | nr |  |  |  | Delete if hood is scrapped
F.2 | Existing Lab Modifications | HVAC / extract alterations | Reroute extract / make-up duct | m
F.3 | Existing Lab Modifications | HVAC / extract alterations | Relocate indoor AC unit or adjust grilles | nr
F.4 | Existing Lab Modifications | HVAC / extract alterations | Recommission air volume and room pressure | item | 1
G | Existing Lab Modifications | Plumbing alterations | Relocate sinks, taps and waste | item | 1
G.1 | Existing Lab Modifications | Plumbing alterations | Relocate hot/cold water point | nr
G.2 | Existing Lab Modifications | Plumbing alterations | Reroute chemical-resistant waste | m
G.3 | Existing Lab Modifications | Plumbing alterations | Relocate floor drain and make good falls | nr
G.4 | Existing Lab Modifications | Plumbing alterations | Pressure test and flush after works | item | 1
H | Existing Lab Modifications | ELV alterations | Relocate data, access, CCTV and fire points with partitions | item | 1 |  |  | Confirm if in this package
H.1 | Existing Lab Modifications | ELV alterations | Relocate / reinstate data outlet | nr
H.2 | Existing Lab Modifications | ELV alterations | Relocate access / CCTV point | nr
H.3 | Existing Lab Modifications | ELV alterations | Relocate and reset fire detector | nr
I | Existing Lab Modifications | Make-good & clean | Interface with retained areas, close openings, clean handover | item | 1
I.1 | Existing Lab Modifications | Make-good & clean | Fire-stop openings and decorative close-up | item | 1
I.2 | Existing Lab Modifications | Make-good & clean | Match finishes and floors to unaltered areas | item | 1 |  |  | Avoid obvious colour mismatch
I.3 | Existing Lab Modifications | Make-good & clean | Final clean, remove protection, assist equipment reset | item | 1
J | Existing Lab Modifications | Provisional | Contingency for existing-lab alterations (optional; hidden services risk) | item | 1 |  |  | Delete if not required
Existing Lab Modifications — amount subtotal | [7 empty] | 0 if rates are blank — not a free quote

## 1F Warehouse
1F Warehouse
Additional / extra scope · working draft · quantities to be measured · rates should match like trades on the original contract
Item | Area | Trade | Description | Unit | Qty | Rate | Amount | Remarks
A | 1F Warehouse | Preliminaries | Management, unloading access, hoarding and temporary works for the 1F warehouse only | item | 1 |  |  | This area only
A.1 | 1F Warehouse | Preliminaries | Occupation of 1F loading door, temporary hoarding and traffic guidance | item | 1
A.2 | 1F Warehouse | Preliminaries | Protection of columns, doorways and completed floors | item | 1
A.3 | 1F Warehouse | Preliminaries | Construction waste removal (Level 1) | item | 1
B | 1F Warehouse | Flooring | Warehouse slab, levelling, finish and lining | item | 1
B.1 | 1F Warehouse | Flooring | Clean existing slab, repair hollow spots, level | m2
B.2 | 1F Warehouse | Flooring | Concrete make-up / hardener (if required) | m2 |  |  |  | Confirm if structural slab already exists
B.3 | 1F Warehouse | Flooring | Epoxy floor (or wear-resistant finish — TBC) | m2
B.4 | 1F Warehouse | Flooring | Bay / aisle lining and numbering | m
B.5 | 1F Warehouse | Flooring | Column guards / corner protection | nr
C | 1F Warehouse | Walls & doors | Wall coatings, impact protection and doors | item | 1
C.1 | 1F Warehouse | Walls & doors | Internal plaster repair and paint (incl. intumescent if required) | m2
C.2 | 1F Warehouse | Walls & doors | Powered roller shutter (incl. guides, motor, controls) | nr |  |  |  | Loading door
C.3 | 1F Warehouse | Walls & doors | Pedestrian fire / escape door | nr
C.4 | 1F Warehouse | Walls & doors | Lobby, canopy or loading-dock rain protection | item | 1 |  |  | If present on site
D | 1F Warehouse | Racking builder’s work | Racking bases, embeds and install attend (racking supply excluded unless confirmed) | item | 1 |  |  | Confirm racking supply with procurement
D.1 | 1F Warehouse | Racking builder’s work | Embed / chemical-anchor racking base bolts | nr
D.2 | 1F Warehouse | Racking builder’s work | Local thickened base or blinding | m3 |  |  |  | Per racking supplier loads
D.3 | 1F Warehouse | Racking builder’s work | Racking supply and install (provisional, optional) | item | 1 |  |  | Delete if not in this contract
E | 1F Warehouse | Power & lighting | Warehouse power distribution and high-bay lighting | item | 1
E.1 | 1F Warehouse | Power & lighting | Warehouse distribution board | nr
E.2 | 1F Warehouse | Power & lighting | Cables, tray and conduit | m
E.3 | 1F Warehouse | Power & lighting | High-bay / LED industrial luminaire | set
E.4 | 1F Warehouse | Power & lighting | Emergency lighting and exit signs | set
E.5 | 1F Warehouse | Power & lighting | Forklift / charging or power socket (if required) | nr
E.6 | 1F Warehouse | Power & lighting | Electrical testing and commissioning | item | 1
F | 1F Warehouse | Ventilation | Warehouse ventilation (fans or duct, per height and stock) | item | 1 |  |  | Delete if natural ventilation only
F.1 | 1F Warehouse | Ventilation | Extract fan / roof fan | nr
F.2 | 1F Warehouse | Ventilation | Duct and grille (if any) | m
G | 1F Warehouse | Fire | Warehouse sprinklers, detection, extinguishers and fire-stopping | item | 1 |  |  | Per fire review
G.1 | 1F Warehouse | Fire | Sprinkler pipe, heads and supports | m |  |  |  | Note if tying into existing system
G.2 | 1F Warehouse | Fire | Smoke / heat detector | nr
G.3 | 1F Warehouse | Fire | Relocate or add hose-reel cabinet (if required) | set
G.4 | 1F Warehouse | Fire | Extinguisher cabinet and contents | set
G.5 | 1F Warehouse | Fire | Fire-stopping | item | 1
H | 1F Warehouse | ELV | CCTV, access and data (warehouse office corner, if any) | item | 1 |  |  | Confirm if in this package
H.1 | 1F Warehouse | ELV | CCTV point | nr |  |  |  | Loading door and storage
H.2 | 1F Warehouse | ELV | Access-control point | nr
H.3 | 1F Warehouse | ELV | Data outlet (duty / small office) | nr
I | 1F Warehouse | Ancillary room (optional) | Duty / small office partitions and simple fit-out inside the warehouse | item | 1 |  |  | Delete whole trade if no ancillary room
I.1 | 1F Warehouse | Ancillary room (optional) | Light partitions and door | m2
I.2 | 1F Warehouse | Ancillary room (optional) | Simple ceiling, floor and lights | m2
J | 1F Warehouse | Signage & handover | Signs and final clean | item | 1
J.1 | 1F Warehouse | Signage & handover | Safety signs, height limit, no-storage and escape plan | item | 1
J.2 | 1F Warehouse | Signage & handover | Final clean and removal of protection | item | 1
K | 1F Warehouse | Provisional | Contingency for 1F warehouse (optional) | item | 1 |  |  | Delete if not required
1F Warehouse — amount subtotal | [7 empty] | 0 if rates are blank — not a free quote

## 25F Drawings
25F Laboratory — drawing register
Do not attach unfinished drawings. Mark them Not started / TBD. Keep drawings in the same area pack as the quote.
Dwg no. | Area | Title | Discipline | Rev | Date | Status | File / location | Remarks
A-L25-001 | 25F Laboratory | 25F laboratory — floor layout (draft) | Architecture | A | 2026-09-03 | Draft — for review | drawings/25f-lab/ | Partitions, zoning, doors
A-L25-002 | 25F Laboratory | 25F laboratory — bench and furniture layout | Architecture | A | 2026-09-03 | Draft / TBD | drawings/25f-lab/
A-L25-003 | 25F Laboratory | 25F laboratory — RCP / lighting | Architecture | A | 2026-09-03 | Not started / TBD | drawings/25f-lab/
E-L25-001 | 25F Laboratory | 25F laboratory — electrical layout | MEP | A | 2026-09-03 | Draft / TBD | drawings/25f-lab/ | Sockets, lighting, DB
M-L25-001 | 25F Laboratory | 25F laboratory — extract / HVAC layout | MEP | A | 2026-09-03 | Draft / TBD | drawings/25f-lab/ | Fume hoods and extract
P-L25-001 | 25F Laboratory | 25F laboratory — plumbing layout | MEP | A | 2026-09-03 | Draft / TBD | drawings/25f-lab/ | Lab sinks, waste, shower

## Existing Lab Drawings
Existing lab modifications — drawing register
Do not attach unfinished drawings. Mark them Not started / TBD. Keep drawings in the same area pack as the quote.
Dwg no. | Area | Title | Discipline | Rev | Date | Status | File / location | Remarks
A-OL-001 | Existing Lab Modifications | Existing lab — as-built / strip-out | Architecture | A | 2026-09-03 | Draft — for review | drawings/old-lab/ | Mark retain / strip-out
A-OL-002 | Existing Lab Modifications | Existing lab — altered layout | Architecture | A | 2026-09-03 | Draft — for review | drawings/old-lab/ | Read against strip-out drawing
A-OL-003 | Existing Lab Modifications | Existing lab — bench and services relocation overlay | Sketch | A | 2026-09-03 | Draft / TBD | drawings/old-lab/ | Avoid double-counting 25F new work
E-OL-001 | Existing Lab Modifications | Existing lab — electrical relocation | MEP | A | 2026-09-03 | Draft / TBD | drawings/old-lab/
M-OL-001 | Existing Lab Modifications | Existing lab — extract / AC relocation | MEP | A | 2026-09-03 | Draft / TBD | drawings/old-lab/

## 1F Warehouse Drawings
1F Warehouse — drawing register
Do not attach unfinished drawings. Mark them Not started / TBD. Keep drawings in the same area pack as the quote.
Dwg no. | Area | Title | Discipline | Rev | Date | Status | File / location | Remarks
A-WH-001 | 1F Warehouse | 1F warehouse — floor layout (draft) | Architecture | A | 2026-09-03 | Draft — for review | drawings/1f-warehouse/ | Doors, storage, ancillary
A-WH-002 | 1F Warehouse | 1F warehouse — floor lining and racking | Architecture | A | 2026-09-03 | Draft / TBD | drawings/1f-warehouse/ | Still needed if racking is client-supplied
E-WH-001 | 1F Warehouse | 1F warehouse — electrical / lighting | MEP | A | 2026-09-03 | Draft / TBD | drawings/1f-warehouse/ | High-bay lighting, power
F-WH-001 | 1F Warehouse | 1F warehouse — fire layout | MEP | A | 2026-09-03 | Draft / TBD | drawings/1f-warehouse/ | Sprinklers, detection, escape

## Drawing register
Drawing register — three areas + interface
Do not attach unfinished drawings. Mark them Not started / TBD. Keep drawings in the same area pack as the quote.
Dwg no. | Area | Title | Discipline | Rev | Date | Status | File / location | Remarks
A-L25-001 | 25F Laboratory | 25F laboratory — floor layout (draft) | Architecture | A | 2026-09-03 | Draft — for review | drawings/25f-lab/ | Partitions, zoning, doors
A-L25-002 | 25F Laboratory | 25F laboratory — bench and furniture layout | Architecture | A | 2026-09-03 | Draft / TBD | drawings/25f-lab/
A-L25-003 | 25F Laboratory | 25F laboratory — RCP / lighting | Architecture | A | 2026-09-03 | Not started / TBD | drawings/25f-lab/
E-L25-001 | 25F Laboratory | 25F laboratory — electrical layout | MEP | A | 2026-09-03 | Draft / TBD | drawings/25f-lab/ | Sockets, lighting, DB
M-L25-001 | 25F Laboratory | 25F laboratory — extract / HVAC layout | MEP | A | 2026-09-03 | Draft / TBD | drawings/25f-lab/ | Fume hoods and extract
P-L25-001 | 25F Laboratory | 25F laboratory — plumbing layout | MEP | A | 2026-09-03 | Draft / TBD | drawings/25f-lab/ | Lab sinks, waste, shower
A-OL-001 | Existing Lab Modifications | Existing lab — as-built / strip-out | Architecture | A | 2026-09-03 | Draft — for review | drawings/old-lab/ | Mark retain / strip-out
A-OL-002 | Existing Lab Modifications | Existing lab — altered layout | Architecture | A | 2026-09-03 | Draft — for review | drawings/old-lab/ | Read against strip-out drawing
A-OL-003 | Existing Lab Modifications | Existing lab — bench and services relocation overlay | Sketch | A | 2026-09-03 | Draft / TBD | drawings/old-lab/ | Avoid double-counting 25F new work
E-OL-001 | Existing Lab Modifications | Existing lab — electrical relocation | MEP | A | 2026-09-03 | Draft / TBD | drawings/old-lab/
M-OL-001 | Existing Lab Modifications | Existing lab — extract / AC relocation | MEP | A | 2026-09-03 | Draft / TBD | drawings/old-lab/
A-WH-001 | 1F Warehouse | 1F warehouse — floor layout (draft) | Architecture | A | 2026-09-03 | Draft — for review | drawings/1f-warehouse/ | Doors, storage, ancillary
A-WH-002 | 1F Warehouse | 1F warehouse — floor lining and racking | Architecture | A | 2026-09-03 | Draft / TBD | drawings/1f-warehouse/ | Still needed if racking is client-supplied
E-WH-001 | 1F Warehouse | 1F warehouse — electrical / lighting | MEP | A | 2026-09-03 | Draft / TBD | drawings/1f-warehouse/ | High-bay lighting, power
F-WH-001 | 1F Warehouse | 1F warehouse — fire layout | MEP | A | 2026-09-03 | Draft / TBD | drawings/1f-warehouse/ | Sprinklers, detection, escape
SK-ALL-001 | Interface of three areas | Scope boundary / original-contract interface sketch | Sketch | A | 2026-09-03 | Draft — for review | drawings/ | Avoid double-counting between packs or vs original contract